## Analysis Sheet - Data Entry
MicroBio Count Correction and Results Calculator
This spreadsheet will only work for the MicroBio MB1 and MB2 Bioaerosol Samplers.
Report Header
Analysis By
Collection Date
Collection Time
Select Model | MB1
Select Sampling Head Holes | 220
Incubation Time
Incubation Temperature
Data Entry
| ENTER DATA HERE |  | DO NOT EDIT CELLS BELOW
Plate No. | Sample Volume | Count | Corrected Count | CFU/m3 | Temperature | Humidity | Notes
1 | 100 | 33 | 35 | 350
2 | 100 | 35 | 38 | 380
3 | 100 | 40 | 44 | 440
4 | 100 | 37 | 40 | 400
5 | 100 | 30 | 32 | 320
6 | 100 | 44 | 49 | 490
7 | 100 | 38 | 41 | 410
8 | 100 | 27 | 28 | 280
9 | 100 | 40 | 44 | 440
10 | 100 | 32 | 34 | 340
Insert more rows above if needed
Statistics
CFU/m3
Maximum | 490
Minimum | 280
Mean | 385
Standard Deviation | 60.3738
95% Confidence Interval | 37.4194
Range Min | 347.5806
Range Max | 422.4194
% | Range
95 | 37.4194
90 | 31.4034
85 | 27.4834
80 | 24.4672
75 | 21.9623
70 | 19.7875
65 | 17.8431
60 | 16.0681
55 | 14.4223
50 | 12.8773
45 | 11.4124
40 | 10.0118
35 | 8.6632
30 | 7.3565
25 | 6.0834
20 | 4.8369
15 | 3.6106
10 | 2.3991
5 | 1.1972
Do not edit numbers in this table, they are calculated from the data entry table.